**PURCHASE SPECIFICATIONS FOR A PORTABLE HELIPAD LIGHTING KIT**

MODEL: SP-401 PORTABLE HELIPAD LIGHTING KIT

##### General Overview

Portable Helipad Lighting Kit is designed for a fast deployment of reliable illumination solution for temporary, and emergency helipads. The Kit shall be able to illuminate temporary helipad in accordance with international aviation requirements.

Portable Helipad Lighting Kit shall offer the following features:

* Fast deployment of lighting system within maximum 20 minutes,
* Shall provide minimum 170 hours of autonomy of helipad lighting system,
* Remote control of the lighting units,
* Easy usage and transportation of the lighting units,
* Protection of the lighting units from the physical damage during transportation,
* Recharging of lighting units.

**Description**

Portable Helipad Lighting Kit shall consist of or be capable of:

* 8x SP-401 portable helipad lights,
* The type of the portable helipad lights included in the Kit shall be FATO, TLOF, or combined as per customer requirements,
* 1x UR-101 Handheld Controller,
* 1x Single Charger for a UR-101 Handheld Controller,
* Single Charger shall be able to charge the Handheld Controller using universal AC input (110-230 VAC),
* 1x Protective Case with built-in contactless charging system allowing to charge
8x lighting units simultaneously.